## Slide 1: Next-Generation Sequencing Analysis
Dr Alan Pittman and Dionysios Grigoriadis
SGUL Bioinformatics Unit
Friday 31st January 2020
A and D

## Slide 2: Workshop set-up
D
Open the web browser
Go to :
  https://github.com/sgul-genetics-centre-bioinformatics/NGS-bioinformatics-workshop_SGUL_31-01-2020/blob/master/NGS_workshop.md

## Slide 3: Workshop set-up
D
Accessible to all at SGUL with login via MobaXterm
Open MobaXterm
Login by typing:
  ssh yourusername@stat3.sgul.ac.uk
  Type password when prompted
Defaults to home (H) drive where we will be working

## Slide 4: Workshop set-up
D
In MobaXterm
Type this at the terminal:
  git clone https://github.com/sgul-genetics-centre-bioinformatics/NGS-bioinformatics-workshop_SGUL_31-01-2020.git
Wait for the directory to download and then move inside it:
cd NGS-bioinformatics-workshop_SGUL_31-01-2020
…here we are downloading the needed files we will be working on in this workshop today

## Slide 5: Learning Objectives
Quick overview of next generation sequencing
Linux command line
Next-generation sequencing software/tools
  Genome reference download and index
  Raw sequencing reads pre-processing and quality control
  Reads alignment to the reference genome
  Alignment quality control and refinement
  Variant calling and filtration
  Annotation of the called variants
  Visualisation of alignments and called variants
A

## Slide 6: Introduction
A

## Slide 7: Library Preparation
A
RNA
DNA
  Extract nucleic acids from blood, tissue, saliva, etc.
  Shear dsDNA into fragments
  Attach adapters to fragments
RT-PCR
Fragments
Purify*
fragments
Library
  If RNA:
  make cDNA
* Protocol varies depending on experimental design (WGS, exome, targeted sequencing etc)

## Slide 8: Sequencing the library I
Lanes
Flowcell
Illumina
Bitesizebio.com
DNA libraries
HTS machine processes a flowcell containing lanes
Each lane may contain multiple samples (indexed with a DNA barcode)
Read group (RG) specifies a combination of sample and flowcell
Enormous pile of short reads
DNA libraries deposited on flowcell
-> amplified to form clusters
A

## Slide 9: Sequencing the library II
Sequence Name (read name, group, etc.)
Sequence
+ (optional: Sequence name again)
Associated quality score
Format specification http://maq.sourceforge.net/fastq.shtml
Accuracy
Error
20 and higher is generally a good score
Q10 = 90% confidence (10% error rate)
Q20 = 99% confidence (1% error rate)
Q30 = 99.9% confidence (0.1% error rate)
Phred value = −10 * log10(ε)
Big pile of reads!
ASCII code translates to Phred-scale Q scores
A
FASTQ file

## Slide 10: Mapping The Short Reads
Enormous pile of short reads from sequencer
Mapping and alignment algorithms
Reference genome
Reads mapped to reference
BWA for DNA
A
Short read sequences from the machine need to be re-assembled like a jigsaw
Mapped against the reference genome using the alignment algorithm BWA

## Slide 11
[user@stats3 ~]$ /path/to/application [ARGUMENTS]
[user@stats3 ~]$ #Bash ignores everything that is written after the hash mark (#)
[user@stats3 ~]$ cd ~/software
[user@stats3 ~]$ ls ~/resources/etc
[user@stats3 ~]$ mkdir reference/
[user@stats3 ~]$ software/samtools view –Sb sample1.sam -o sample1.bam
[user@stats3 ~]$ software/fastp -i sample1_r1.fastq --html sample1_results.html --json sample1_results.json
The “\” character is used to indicate that the code line continues in the following line. Example:
[user@stats3 ~]$ software/fastp -i sample1_r1.fastq \
--html sample1_results.html \
--json sample1_results.json
This is where you specify which application you want to run and where it is.
This is where you set specific arguments for your application. Typically set with: “-”,”--“ or “=“ (see examples).
Examples of simple commands:
Introduction to UNIX Command Line How to run simple commands and executable applications
D

## Slide 12
Introduction to UNIX Command Line How to run simple commands and executable applications
[user@stats3 ~]$ /path/to/language/compiler [COMPILER’S ARGUMENTS] /path/to/script [SCRIPT’S ARGUMENTS]
[user@stats3 ~]$ sh ~/software/linux_script.sh –i data1.csv –d 20
[user@stats3 ~]$ bash ~/software/linux_script.sh data1.csv
[user@stats3 ~]$ python ~/software/myscript.py –i sample1.vcf –o sample1.processed.vcf
[user@stats3 ~]$ Rscript ~/software/plot_samples.R --input table.txt –f 20 –d 9 --output plot.jpeg
[user@stats3 ~]$ java –jar gatk-4.0.4.0-local.jar HaplotypeCaller –I sample1.vcf
[user@stats3 ~]$ java –jar –Xms30g gatk-4.0.4.0-local.jar HaplotypeCaller –I sample1.vcf
This is where you specify which application you want to run and where it is. In this case is the compiler of the specific language.
Examples:
Full path to the script.
This is where you set specific arguments for the compiler. Typically set with: “-”,”--“,“=“ or just a word or character (see examples).
This is where you set specific arguments for your script. Typically set with: “-”,”--“,“=“ or just a word or character (see examples).
D

## Slide 13: Hands On Workshop
A

## Slide 14: Analysis of the Human mtDNA Sequence
A
Mitochondrial DNA (mtDNA)
  Closed- circular 16.6kb in size
  mtDNA encodes 13 proteins
  Essential subunits of oxidate phosphorylation

## Slide 15: Part 1
Downloading and preparing our mitochondrial reference (chrM) fasta file.
At the Linux terminal type:
mkdir reference
wget –timestamping 'ftp://hgdownload.cse.ucsc.edu/goldenPath/hg38/chromosomes/chrM.fa.gz' -O reference/chrM.fa.gz
A
…here we are creating a new directory (called reference) with the linux mkdir command, then using the wget command to download chrM fasta file to that new directory

## Slide 16: Part 1
Unzipping and viewing the compressed chrM fasta txt file.
At the Linux terminal type:
gunzip reference/chrM.fa.gz
head reference/chrM.fa
A
…the chrM reference fasta file is currently compressed and we are unzipping it to it’s text format. We can view the top 10 lines of the unzipped file with the head command.

## Slide 17: Part 1
Generate the FM-index from the chrM reference fasta file for use in BWA
At the Linux terminal type:
software/bwa index reference/chrM.fa
A
…we are using the index function of the bwa software to make the FM-index of our reference fasta genome

## Slide 18: Part 1
Prepare the index file for use in the Genome Analysis Toolkit (GATK)
Fasta index file (.faidx)
Sequence dictionary file (.dict)
At the Linux terminal type:
software/samtools faidx reference/chrM.fa
java -jar software/gatk-package-4.0.4.0-local.jar CreateSequenceDictionary -R reference/chrM.fa -O reference/chrM.dict
A
…..producing some more text files describing the contents of the chrM FASTA file for the genome analysis toolkit.

## Slide 19: Part 2
At the Linux terminal type:
head –n 12 sample1_r1.fasta
DG
Enormous pile of short reads
sample1_r2.fastq
sample1_r1.fastq
Every new entry (read) is starting with an “@”.
Each entry (read) in a FASTQ file consists of four lines:
1st: Read identifier
2nd: Nucleotide sequence
3rd: Quality score identifier (is always a “+”)
4rd: Per base quality score
FASTQ file
Inspect sequencing reads in FASTQ format

## Slide 20: Part 2
At the Linux terminal type:
software/fastp -i sample1_r1.fastq -I sample1_r2.fastq -o sample1_out.R1.fq.gz –O \ sample1_out.R2.fq.gz --html \
sample1_results.html --json sample1_results.json --report_title sample1_results
Quality control of our mitochondrial NGS sequence data prior to alignments
This steps achieves 2 main goals
Report the reads quality in a human-readable format
Process the reads prior to the alignment step:
Trim read bases that might be of low quality (usually on the tail end of the reads).
Remove any adapter sequences (have been artificially inserted during library preparation).
DG

## Slide 21: Part 2
At the Linux terminal type:
software/fastqc sample1_r1.fastq sample1_r2.fastq sample1_out.R1.fq.gz \ sample1_out.R2.fq.gz
An alternative way of visualising the reads quality before and after trimming.
Read more about how to interpret the FASTQC reports: http://www.bioinformatics.babraham.ac.uk/projects/fastqc/Help/
DG

## Slide 22: Part 3
A
Alignment of the mitochondrial fastq sequence data to the chrM using BWA
At the Linux terminal type:
software/bwa mem reference/chrM.fa sample1_out.R1.fq.gz sample1_out.R2.fq.gz -R '@RG\tID:sample1\tSM:sample1\tLB:sample1\tPL:ILLUMINA' -o sample1.sam
….. we are using the bwa alignment algorithm ‘mem’ to align our sample fastq data against the reference chrM fasta file
-o generating an output .sam (sequence alignment format) file
-R embedding the sample/sequence information in file

## Slide 23: Part 3
A
Converting the sam output to a common binary alignment format (.bam)
At the Linux terminal type:
software/samtools view -Sb sample1.sam -o sample1.bam
….. we are using the samtools software ‘view’ command to print our .sam file into a different file format, in this case a .bam file (basically same as a .sam file but takes up much less disk space and retains all of the information)

## Slide 24: Part 3
A
Sorting by genomic co-ordinate and indexing the .bam file
At the Linux terminal type:
software/samtools sort sample1.bam -o sample1_sorted.bam
software/samtools index sample1_sorted.bam
….. we are using the samtools software ‘sort’ command to sort the alignment .bam file by genomic coordinate
..then we are using the samtools ‘index’ command to create the .bai index – the .bam companion file that allows for faster read access for downstream steps

## Slide 25: Part 3
A
Deduplicate with picardtools in GATK
At the Linux terminal type:
java -jar software/gatk-package-4.0.4.0-local.jar MarkDuplicates -I sample1_sorted.bam -O sample1_sorted_unique.bam -M sample1_picard_metrics.txt
…the deduplication step locates and tags duplicate reads in the .bam, where duplicate reads are defined as originating from a single fragment of DNA. Duplicates can arise during sample preparation e.g. library construction using PCR.

## Slide 26: Part 3
A
Base quality score recalibration with GATK
At the Linux terminal type one after the other
java -jar software/gatk-package-4.0.4.0-local.jar BaseRecalibrator -I sample1_sorted_unique.bam -R reference/chrM.fa --known-sites software/common_all_chrM.vcf.gz -O recal_data_table.txt
java -jar software/gatk-package-4.0.4.0-local.jar ApplyBQSR -I sample1_sorted_unique.bam -R reference/chrM.fa --bqsr-recal-file recal_data_table.txt -O sample1_sorted_unique_recalibrated.bam
…we are performing base quality score recalibration to recalculate the base calling quality scores. The sequencing machines tend to overestimate the data quality (!) ..so we can model the actual data quality on the number mismatches in the observed data… and adjust them accordingly!

## Slide 27: Part 4
D
Identifying single nucleotide variants and small indels in our aligned mtDNA
At the Linux terminal type:
java -jar software/gatk-package-4.0.4.0-local.jar HaplotypeCaller \ -I sample1_sorted_unique_recalibrated.bam \
-R reference/chrM.fa -G StandardAnnotation \
-bamout sample1_sorted_unique_recalibrated.bamout.bam \
-O sample1.vcf
Read more here: https://gatk.broadinstitute.org/hc/en-us/articles/360035531412-HaplotypeCaller-in-a-nutshell
HaplotypeCaller scans the aligned reads for mismatches against the reference genome

## Slide 28: Part 4
D
Hard-Filtering of the previously called variants
At the Linux terminal type:
  java -jar software/gatk-package-4.0.4.0-local.jar VariantFiltration -V sample1.vcf -R reference/chrM.fa --genotype-filter-expression "GQ < 30.0“ --genotype-filter-name "LowGQ" \ --filter-expression "QD < 1.5" --filter-name "LowQD" --filter-expression "DP < 6" --filter-name "LowCoverage" \ --filter-expression "SOR > 10.0" --filter-name "StrandBias" -O sample1.filtered.vcf
Filters used in this example
Genotype Quality less than 30.0: GQ < 30 to tag variants with low genotype quality
Quality of Depth less than 1.5: QD < 1.5 to tag variants with low quality of depth
Approximate read depth less than 6: DP < 6 to tag variants with low read coverage
Strand Odds Ratio more than 10: SOR > 10 to tag variants with strand bias

## Slide 29: Part 4
D
Hard-Filtering of the previously called variants
At the Linux terminal type:
  java -jar software/gatk-package-4.0.4.0-local.jar VariantFiltration -V sample1.vcf -R reference/chrM.fa --genotype-filter-expression "GQ < 30.0“ --genotype-filter-name "LowGQ" \ --filter-expression "QD < 1.5" --filter-name "LowQD" --filter-expression "DP < 6" --filter-name "LowCoverage" \ --filter-expression "SOR > 10.0" --filter-name "StrandBias" -O sample1.filtered.vcf

## Slide 30: Part 5
D
Functional annotation of the called genetic variants
Gene annotations
Variant information that you want to annotate
Region annotations
Filter annotations

## Slide 31: Part 5
D
Functional annotation of the called genetic variants
Variant information that you want to annotate

## Slide 32: Part 5
D
Functional annotation of the called genetic variants
We are using an online freely available annotation tool: (ensemble VEP)
Open an internet browser (Mozilla Firefox, Google Chrome)
Navigate to https://www.ensembl.org/Multi/Tools/VEP
! Double check the human genome build you are using ! (Here, we are using hg38/GRCh38)
Fill the job form using:
  Name for this job: sgul_workshop_ followed by your initials (e.g. sgul_workshop_DG)
  Input data -> Or upload file: -> Choose file -> Navigate and select your sample1.filtered.vcf.gz file
  Transcript database to use: Ensembl/GENCODE transcripts
  Make sure you will leave Additional configurations field untouched using the pre-defined default fields.
Click
Wait for the job to finish
When finished, click [View results]

## Slide 33: Part 6
A+D
At the Linux terminal type:
  software/igv.sh
Open IGV software.
Go to Genomes and then select “Load genomes from file…”.
Locate the chrM.fa file and open.
Go to “File” and then select “Load from file…”.
Locate the “sample1_sorted_unique_recalibrated.bam” and open.
You can also load a track showing the actual called variants:
Go to “File” and then select “Load from file…”.
Locate the “sample1.filtered.vcf.gz” and open.
Aligment & Variants visualisation with Integrative Genomics Viewer (IGV)
There is also an online version of IGV: https://igv.org/app/

## Slide 34: Quiz
A+D
In the VEP annotation results table, find the genomic coordinates of the missense variant with the highest Polyphen score.
Download the annotated vcf file using the VCF download button on the upper-right corner
Get the genomic position of the variant you selected in question 1 and extract this variant’s information from the vcf file (using the grep command) and save it into a new file (using the > symbol).